## Slide 1: RP3 warranty process

## Slide 2
The specifier sets all the parameters for the worst case configuration.
Those parameters are:
  The characteristics of the patch cords and cable used
  The length of the horizontal cable
  The size of the bundles
  The ambient temperatures
  Pathway type and dimensions
To check if an installation is eligible for RP3 Actassi system warranty, Schneider Electric has designed a PoE calculator tool to evaluate
  Cable heating in bundles
  Worst case insertion loss
This tool is an Excel file which name is:
yymmdd-Schneider Electric Actassi PoE calculator.xlsx *
* yy = year, mm = month, dd = day of the file release
Actassi system / RP3 warranty

## Slide 3: Tool instructions for RP3 warranty

## Slide 4
Tool instructions for RP3 warranty
1- Ensure the current is set to 1 Amp per twisted pair

## Slide 5
Fill the blue cells
Tool instructions for RP3 warranty
2- Enter the settings for the patch cord on floor distributor side

## Slide 6
Fill the blue cells
Tool instructions for RP3 warranty
3- Enter the settings for the horizontal cable

## Slide 7
Fill the blue cells
Tool instructions for RP3 warranty
4- Enter the settings for the work area cord

## Slide 8
Fill the blue cells and select the right pathway
Tool instructions for RP3 warranty
5- Select the type and size of the pathway

## Slide 9
Tool instructions for RP3 warranty
6- Read the messages in red and correct the settings

## Slide 10
Tool instructions for RP3 warranty
7- Final result
This configuration is eligible for RP3
Those configurations are not eligible for RP3 (cause written in red)

## Slide 11
Save the Excel file in pdf format for each critical configurations and attach them to the warranty folder
For the page settings, select the landscape configuration and scale to 1 page
Tool instructions for RP3 warranty
8- Prepare the documents for Schneider Electric Front Office

## Slide 12: PoE calculator for given applications

## Slide 13
PoE calculator for given applications
1- Select Power Device, the expected power @ PD and the number of conductors